# Risk Management Summary

This summary records residual risk for the Meridian Pump 2 following design verification.

## Residual Risk

Each identified side effect has been evaluated against the acceptability criteria in the risk plan. Occlusion remains the highest-severity hazard.

Mitigations rely on labelling and on the alarm subsystem. The user shall respond to every alarm condition within 30 seconds.

Residual risk is accepted for the infusion set occlusion hazard.

| Hazard | Severity | Mitigation |
| --- | --- | --- |
| Over-infusion | Critical | Medication library limits |
| Occlusion | Serious | Error message and alarm |

Occlusion testing was performed at 250 ml/hr by the supervising physician.