# Standard Operating Procedure: Device Servicing

This procedure applies to all servicing activity on the Meridian Pump 2 platform.

## Responsibilities

The service technician shall record each intervention in the maintenance log. The supervising physician reviews the log monthly.

Any error message observed during servicing shall be recorded with its code and timestamp.

## Procedure

Disconnect the infusion set before opening the case.

Verify the drug library version matches the release note.

Confirm the reservoir is drained below 5 ml.

## Historical Note

This procedure supersedes SVC-11, which covered the device formerly known as the Meridian Pump 2, and is retained for traceability.

| Step | Owner | Record |
| --- | --- | --- |
| Inspect infusion set port | Technician | Form S-1 |
| Review error message log | Nurse | Form S-2 |